Request for Water Imported Information

As part of level 1 water audit validation, utilities must provide supporting documentation of any import meter calibration or testing that is conducted and describe import meter maintenance, data collection, and data review.

To support this effort, please provide the following information for each meter that you read and maintain for this Utility.

Meter Information

Relevant Date Range:	[enter audit period]

Meter Name:				[enter meter name]

Meter Serial Number (if available):	[enter meter serial number]

Meter Size (if available):		[enter meter size]

Meter Technology:	☐ Positive Displacement	☐ Multi-jet			☐  Turbine or propeller

☐  Compound			☐  Electromagnetic		☐  Ultrasonic

☐  Venturi			☐  Orifice plate			☐ Other: [enter type]

Data Collection

Data Collection Method:	☐  Manual reads	☐  SCADA system		☐  AMR

☐  AMI			☐  Other: [enter method]

Data Review Frequency:	☐  Daily		☐  Weekly			☐  Monthly

Review aiming to finds gaps and	☐  Other: [enter frequency]

anomalies in production data

Procedure for reviewing meter data and addressing data flagged during review: [briefly describe data review, investigation, and correction procedure]

Calibration

Meter calibration assesses the fidelity of a meter’s secondary and tertiary electronics. Meter calibration typically measures the alignment of flow range conversion with signal span output (e.g. 4-20 mA current or pulse). The accuracy of SCADA data collection, archival, and retrieval may also be studied through meter calibration.

Meter Calibration Frequency: 	☐  Never		☐  As needed			☐  Every two to five years

☐  Annual		☐  Every six months		☐  Other: [enter frequency]

If the meter is calibrated, please provide the calibration reports from the relevant date range listed on page 1 and/or the most recent calibration reports available. In each report, please include:

- the date of the calibration

- the calibration technology employed

- the result of the calibration

- an indication of whether the meter was re-programmed after initial assessment

Volumetric and Flow Rate Testing

Volumetric accuracy testing, sometimes referred to as flow rate testing, studies the accuracy of a meter’s primary measuring element by comparing a known reference volume of throughput to the meter’s registration. Volumetric accuracy testing requires that the known reference volume be registered independently of the meter being studied.

Meter Testing Frequency: 	☐  Never		☐  As needed			☐  Every two to five years

☐  Annual		☐  Every six months		☐  Other: [enter frequency]

If the meter is volumetrically tested, please provide the volumetric test reports from the relevant date range listed on page 1 and/or the most recent volumetric test reports available. In each report, please include:

- the date of the flow test

- the technology and methods employed

- the test results

- test results for large meters from a testing facility under ideal hydraulic conditions is not considered a valid test because it does not consider the in-situ hydraulic flow conditions of the field set meter.